## 220211
NégaOctet database
Total
|  |  |  | Data | 529
|  |  |  | Dataset | 1650
Life cycle dataset
Level | Tier | Category | Category | Data | Number of configurations | Unit | Manufacturing | Distribution | Use | End of life
0 - Base data |  |  |  | Electricity Mix; Production mix; Low voltage; FR, DE, CN, US, UK, BE, DK, FI, NL andUE-27 | 10 | kWh | ✓ |  |  |  | 10
|  |  |  | Refrigerant; production mix | 1 | kg | ✓ | ✓ |  |  | 2
|  |  |  | R134a leakage | 1 | kg | ✓ |  |  |  | 1
|  |  |  | Refrigerant; production mix | 1 | kg | ✓ | ✓ |  |  | 2
|  |  |  | Drinking water; water purification treatment; production mix, at plant; from groundwater; RER | 1 | kg | ✓ |  |  |  | 1
|  |  | Oil | Light fuel oil at refinery; from crude oil, fuel supply; production mix, at refinery; 0.1 wt.% sulphur; EU-27 | 1 | m3 | ✓ | ✓ |  |  | 2
|  |  |  | Light fuel oil combustion; in 1 MW boiler; consumption mix, at consumer; RER | 1 | m3 | ✓ |  |  |  | 1
|  |  |  | Diesel oil; production mix, at plant; RER | 1 | m3 | ✓ | ✓ |  |  | 2
|  |  |  | Diesel oil combustion; in engine, including diesel oil production; consumption mix, at consumer; 42 MJ/kg net calorific value; RER | 1 | m3 | ✓ |  |  |  | 1
|  |  | Transports | Articulated lorry transport; Euro 0, 1, 2, 3, 4 mix; 40 t total weight, 27 t max payload; RER | 1 | kg.km | ✓ |  |  |  | 1
|  |  |  | Container ship ocean; technology mix; 27.500 dwt pay load capacity; RER | 1 | kg.km | ✓ |  |  |  | 1
|  |  |  | Plane; technology mix, cargo; 68 t payload; RER | 1 | kg.km | ✓ |  |  |  | 1
|  |  |  | Train; for freight transport; technology mix; electricity; RER | 1 | kg.km | ✓ |  |  |  | 1
|  |  | Wafer | Wafer; substrat silicium; 20 to 75 masks; Chine, EU-28, FR or TW | 53 | m² | ✓ | ✓ |  |  | 106
1 - Digital component |  |  |  | Solid State Drive (SSD); 2,5", SLC, MLC, TLC or QLC, 256 to 2048 Go ; production mix, at plant; CN | 12 | Item | ✓ | ✓ |  | ✓ | 36
|  |  |  | External solid State Drive (SSD); 2,5", TLC, 256 to 2048 Go ; production mix, at plant; CN | 3 | Item | ✓ | ✓ | ✓ | ✓ | 12
|  |  |  | Hard disk drive; mix of 2.5" and 3.5", mix of aluminium and glass disks | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Random-access memory, RAM; DDR5, 2 to 128 GB; production mix, at plant; CN | 7 | Item | ✓ | ✓ |  | ✓ | 21
|  |  |  | Processor, DRAM, 2D and 3D NAND type semiconductor; silicon substrate, PBGA/TFBGA/VFBGA encapsulation, 101.83 to 694mm² die area, 54 or 58 masks, 14 or 22 nm photolithography | 20 | Item | ✓ | ✓ |  | ✓ | 60
|  |  |  | Motherboard; mix of equipment, without processor or RAM | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  |  | Video card, 298 to 2040 g, 333 cm² PWB, 103 to 628 mm² die, 55 to 75 mask layers, 7 to 16 nm lithography | 17 | Item | ✓ | ✓ |  | ✓ | 51
|  |  |  | Casing; mix of equipment | 1 | kg | ✓ | ✓ |  | ✓ | 3
|  |  |  | Fan | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | DVD-ROM Drive | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Power supply unit (PSU), computers, rack and mainframe servers; input AC 100-240V, output DC 12V | 1 | kg | ✓ | ✓ |  | ✓ | 3
|  |  |  | Laptop external power supply | 1 | kg | ✓ | ✓ |  | ✓ | 3
|  |  |  | Smartphone and tablet external power supply | 1 | kg | ✓ | ✓ |  | ✓ | 3
|  |  |  | TFT LCD display panel, color | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  |  | Capacitive touchscreen LCD display panel, color, high-tech application | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  |  | OLED display panel, color | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  |  | Capacitive touchscreen OLED display panel, color | 1 | m² | ✓ | ✓ |  | ✓ | 3
2 - Equipement | End-user terminal | Consultation |  | Laptop; 14.5 to 15.6 inches display, 1 CPU 126 or 156 mm² 7 or 14 nm lithography, 8 to 16 GB RAM, 427 to 564 GB SSD, integrated graphic card or separate graphic card | 3 | Item | ✓ | ✓ | ✓ | ✓ | 12
|  |  |  | Tablet; 10.2 to 11.1 inches display LCD, 1 CPU 83.27 to 125 mm² 7 to 16 nm lithography, 4 to 6 GB RAM, 32 to 512 GB SSD | 3 | Item | ✓ | ✓ | ✓ | ✓ | 12
|  |  |  | Smartphone; 6.57 to 6.72 inches display LCD or OLED, 1 CPU 101.66 mm² 7 nm to 19nm lithography, 6 to 11 GB RAM, 128 to 341 GB SSD | 3 | Item | ✓ | ✓ | ✓ | ✓ | 12
|  |  |  | Desktop; 1 CPU 149.6 to 192 mm² 14 nm lithography, 4 to 16 GB RAM, 0 to 2000 GB HDD, 256 to 1024 GB SSD, separated graphic card 363 mm² 28 nm lithography or integrated graphic card | 4 | Item | ✓ | ✓ | ✓ | ✓ | 16
|  |  |  | Computer monitor; 24 to 39 inches, LCD or OLED | 3 | Item | ✓ | ✓ | ✓ | ✓ | 12
|  |  |  | Television; 53 to 68 inches, OLEDr LCD | 3 | Item | ✓ | ✓ | ✓ | ✓ | 12
|  |  |  | USB key; 16, 32 and 128 GB capacity TLC | 3 | Item | ✓ | ✓ | ✓ | ✓ | 12
|  |  |  | Feature phone | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Docking station | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Set top box | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  | IoT |  | Connected device (IoT); Security - Video | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Connected device (IoT); Security - Control | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Connected device (IoT); Auto - Water heating | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Connected device (IoT); Auto - Street lights | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Connected device (IoT); Auto - Space | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Connected device (IoT); Auto - Lighting | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Connected device (IoT); Auto - Cooking | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Connected device (IoT); Auto - Audio | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Connected device (IoT); Auto - Appliances | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Connected device (IoT); Smart meters | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Connected device (IoT); Sensors - Res-WiFi | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Connected device (IoT); Sensors - Res-LE | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Connected device (IoT); Sensors - Industry | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Connected device (IoT); Sensors - Health | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Connected device (IoT); Gateway - Bus | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Connected device (IoT); Gateway - LE to WiFi | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Connected device (IoT); Comm building control | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Connected device (IoT); Blinds + windows | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  | Specific |  | Landline phone | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Connected speaker | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Home console | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Portable console | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Personnal laser printer | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Professional laser printer | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Cash-desk printer | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Barcode scanner | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Wireless barcode scanner | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Digital price tag - Tranceiver | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Digital price tag - Power unit | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Digital price tag - Tag | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Toner | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Paper; production mix, at plant; without deinking, 100% recycled, from waste paper | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Paper; production mix, at plant; from virgin fiber | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Ribbon | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | WiFi hotspot | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Digital signage display | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Video projector | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
| Network | Access | Fixed-line | OAN (Optical Access Node) and/or MDF (Main Distribution Frame ) site collection router/switch | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | IAD (Integrated Access Device) / CPE (Customer Premise Equipment) router | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | DSLAM (Digital Subscriber Line Access Multiplexer) | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | IAD/CPE router without ONT (Optical Network Termination) / SFP (Small Form-factor-Pluggable) | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | ONT (external) | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | IAD router with ONT/SFP | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | OLT (Optical Line Termination) | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | IAD/CPE cable router | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  | Mobile | Passive multiband antenna (1.4m to 2.7m) | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | BBU 2G-5G (BTS, NODEB, ENODEB and GNODEB); one card | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Collection router | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  | Fixed-line | Copper cable | 1 | m | ✓ | ✓ |  | ✓ | 3
|  |  | Fixed-line/Mobile | Aggregation router | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Aggregation WDM (Wavelength Division Multiplexing) | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  | Mobile | Security Gateway 4G/5G | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  | Backbone | Fixed-line/Mobile | Backbone WDM (Wavelength Division Multiplexing) | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | P-PE-Peering router | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  | Mobile | MME (Mobility Management Entity) /SGSN (Serving GPRS support node) | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | SP-GW (Serving/PDN-Gateway)/GGSN (Gateway GPRS Support Node) | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  | Shared |  | Optical fibre – 2 to 720 strands | 10 | m | ✓ | ✓ |  | ✓ | 30
| Datacenter | IT equipment | Server | Blade or rack server ; 1 or 2 processor low-end or high-end ; 0 to 4 SSD: 0 to 2048 GB each ; 0 to 4 HDD ; 2 to 48 RAM, 4 to 64 GB each ; 0 or 1 GPU | 104 | Item | ✓ | ✓ | ✓ | ✓ | 416
|  |  |  | Blade servers power supply | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  | Virtual machine | Virtual machine (1, 8 and 48vCPU with 4, 32 and 192 GB dedicated RAM) | 3 | Item | ✓ | ✓ | ✓ | ✓ | 12
|  |  | Network | Firewall | 1 | Item | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Switch/Router ; 8 to 72 ports per U ; 1 or 2 processors ; 2 to 512 GB RAM | 21 | Item | ✓ | ✓ | ✓ | ✓ | 84
|  |  | Storage | Storage bay ; 24 or 48 disks - SLC, TLC, MLC or QLC, 256 to 2048 GB | 24 | Item | ✓ | ✓ | ✓ | ✓ | 96
|  |  |  | Storage bay ; 24 or 48 disks - HDD | 2 | Item | ✓ | ✓ | ✓ | ✓ | 8
|  |  |  | Empty 42U bay | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  | Non-IT electrical equipment | Photovoltaic | Photovoltaic panel mono 300 Wc | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Uninterruptible power supply (UPS); 33 KTL | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Lead battery; 33 kVA | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Lead battery; 60 kVA | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Uninterruptible power supply (UPS); 60 KTL | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  | Fire safety | Fire detection station | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Nozzle | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Smoke detector | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Alarm | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Emergency lighting unit | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  | CTM & security | Centralized technical management (CTM) | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Cable; Cat 6a | 1 | ml | ✓ | ✓ |  | ✓ | 3
|  |  |  | Cable; Serial bus | 1 | ml | ✓ | ✓ |  | ✓ | 3
|  |  |  | Cable; multipair | 1 | ml | ✓ | ✓ |  | ✓ | 3
|  |  |  | Optical fibre – 24 strands | 1 | ml | ✓ | ✓ |  | ✓ | 3
|  |  |  | Connector; RJ45 | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  | Generator | Generator; 1136 kVA | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Integrated tank | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  | Power current | Air insulated switchgear; envelope | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Air insulated switchgear; module | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Transformer; 1250 kVA | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Electric panel | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Light | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Power socket | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Cablofil | 1 | ml | ✓ | ✓ |  | ✓ | 3
|  |  |  | Perforated tiles | 1 | ml | ✓ | ✓ |  | ✓ | 3
|  |  |  | Switch | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Uninterruptible power supply (UPS); 300 kVA | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Lead battery; 300 kVA | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  | Air conditioning | Air conditioning group; 0.8 MW | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Flexicooling air conditioning cabinet | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Flexicooling air conditioning crate | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Extraction tower | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Variable Refrigerant Volume (VRV), external unit | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Variable Refrigerant Volume (VRV), internal unit | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Shaft fan | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Electric convection heater | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Dual-flow ventilation | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Electric cabinet | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  | Other | Central intrusion alarm | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Interior light | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Self-contained emergency lighting unit | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Motion sensor | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  | Architecture | Lift | Lift | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  | Sewerage | Buried pipeline | 1 | ml | ✓ | ✓ |  | ✓ | 3
|  |  |  | Wastewater network | 1 | ml | ✓ | ✓ |  | ✓ | 3
|  |  |  | Concrete gutter | 1 | ml | ✓ | ✓ |  | ✓ | 3
|  |  |  | Retention reservoir | 1 | m3 | ✓ | ✓ |  | ✓ | 3
|  |  |  | Siphon | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Drain | 1 | ml | ✓ | ✓ |  | ✓ | 3
|  |  | Other | Fence and barrier; wire mesh | 1 | ml | ✓ | ✓ |  | ✓ | 3
|  |  |  | Portal; motorized | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Fence | 1 | ml | ✓ | ✓ |  | ✓ | 3
|  |  | Tiling | Under-tile waterproofing system - SEL | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  |  | Under-tile waterproofing system - SPEC | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  |  | Tiling | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  |  | Flexible covering | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  | Impermeability | Impermeability | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  |  | Insulation | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  | Interior and exterior carpentry | Grid curtain wall | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  |  | Door; glazed | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Door; one leaf | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Barrier | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Frame | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Dividing wall; glazed | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  |  | Duckboard | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  |  | Stairs; galvanized steel | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Door; wood | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Door; steel | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Baseboard; wood | 1 | ml | ✓ | ✓ |  | ✓ | 3
|  |  |  | Wall, floor, ceiling coating; wood | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  |  | Post; galvanized steel | 1 | Item | ✓ | ✓ |  | ✓ | 3
|  |  |  | Girder; galvanized steel | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  | Paint | Paint | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  | Access floor | Access floor | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  |  | False floor | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  |  | Actuator | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  |  | Copper braiding (grounding) | 1 | ml | ✓ | ✓ |  | ✓ | 3
|  |  | Plaster | Dividing wall | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  |  | Insulation lining | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  |  | Acoustic flocking | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  |  | Firewall | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  | Electrical network | Duct | 1 | ml | ✓ | ✓ |  | ✓ | 3
|  |  | Structural works | Road | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  |  | Ballasted column; 400 mm diameter | 1 | ml | ✓ | ✓ |  | ✓ | 3
|  |  |  | Under slab | 1 | m3 | ✓ | ✓ |  | ✓ | 3
|  |  |  | Retaining wall | 1 | m3 | ✓ | ✓ |  | ✓ | 3
|  |  |  | Basement wall | 1 | m3 | ✓ | ✓ |  | ✓ | 3
|  |  |  | Concrete slab | 1 | m3 | ✓ | ✓ |  | ✓ | 3
|  |  |  | Edging | 1 | m3 | ✓ | ✓ |  | ✓ | 3
|  |  |  | Stairs; concrete | 1 | m3 | ✓ | ✓ |  | ✓ | 3
|  |  |  | Bituminous primer | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  |  | Buried insulation | 1 | m² | ✓ | ✓ |  | ✓ | 3
|  |  |  | Typical datacenter, architecture; FR | 1 | m² | ✓ |  |  | ✓ | 2
|  |  |  | Typical datacenter, non-IT equipment; FR | 1 | m² | ✓ |  |  | ✓ | 2
|  |  |  | Typical datacenter; FR | 1 | m² | ✓ |  |  | ✓ | 2
3 - System | Other |  |  | Impacts related to an employee over a day; FR | 1 | man.day | ✓ |  | ✓ | ✓ | 3
|  |  |  | Impacts related to an IT department employee over a day; FR | 1 | man.day | ✓ |  | ✓ | ✓ | 3
|  |  |  | Impacts related to one square meter of IT department office over a year; FR | 1 | m² | ✓ |  | ✓ | ✓ | 3
| Network |  |  | Fixed-line network; at consumer; xDSL, FFTx average mix ; FR | 1 | Line | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Mobile network; at consumer; 2G, 3G, 4G, 5G average mix ; FR | 1 | GB | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Fixed-line network; at consumer; xDSL, FFTx average mix ; EU-28 | 1 | Line | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Mobile network; at consumer; 2G, 3G, 4G, 5G average mix ; EU-28 | 1 | GB | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Backbone network; FR | 1 | GB | ✓ | ✓ | ✓ | ✓ | 4
|  |  |  | Backbone network; EU-28 | 1 | GB | ✓ | ✓ | ✓ | ✓ | 4
4 - Digital services | Global |  |  | Write, send and read an email; 7kB or 1MB size, to one or five recipient, with a fixed-line connection or mobile line and according reparition of terminals, 10-year storage with 3 redundancies on the sender and receiver sides; FR | 8 | 1 mail | ✓ |  |  |  | 8
|  |  |  | Watch 1 hour of streaming video; 720p to 4k, 30 or 60 fps, via a fixed-line or mobile connection, 82% television, 18% laptop or 67% tablet and 33% smartphone; FR | 6 | 1 h | ✓ |  |  |  | 6
|  |  |  | Download or upload; 1 GB of data, via a fixed-line or mobile connection, end-user equipment not included; FR | 2 | GB | ✓ |  |  |  | 2
|  |  |  | Store in the cloud; 1 GB of data, for 1 or 10 year(s), via a fixed-line or mobile connection, end-user equipment not included; FR | 4 | GB | ✓ |  |  |  | 4
|  |  |  | Set up a webconference; between 2 or 20 persons, with a fixed-line or mobile connection, laptop; FR | 4 | 1 h | ✓ |  |  |  | 4
|  |  |  | Set up a audioconference; audio only, between 2 or 20 persons, with a fixed-line or mobile connection, laptop; FR | 4 | 1 h | ✓ |  |  |  | 4
|  |  |  | Search for an information; with a search engine, consulting 2 pages of results, with a fixed-line connection, 50% desktop computer, 50% laptop computer; FR | 1 | Request | ✓ |  |  |  | 1
|  |  |  | Search for an information; with a search engine, consulting 2 pages of results, with a mobile connection, 15% tablet, 85% smartphone; FR | 1 | Request | ✓ |  |  |  | 1